## Colofon en Instructies
Berekening basisbedrag Windenergie op Zee
WIND OP ZEE
| Authors | Sander Lensink, Iulia Pisca
| Date | 01 August 2018
| Version | Deze versie is bruikbaar voor HER+ t/m 31 maart 2023
| Verantwoording | Contactinformatie voor deze rekensheet: e-innovatie@rvo.nl
| RVO versie | 26 oktober 2023, V03.
Kleurcodering:
Niets invullen
Waarde door gebruiker in te vullen
Gebruikers instructie
Achtergrond van dit rekenmodel:
Dit rekenmodel is het best beschikbare model voor het basisbedrag van windenergie op zee in 2021 en komt in het tabblad "Input-Output" uit op € 45.6/MWh. Dit is de uitgangssituatie voor uw berekeningen.
Wat moet u doen in deze spreadsheet?
Door aanpassingen te doen in de getallen in de groene velden, berekent u wat het verwachte toekomstige basisbedrag voor wind op zee wordt door uw innovatie.
U past het getal/de getallen aan waarop uw innovatie invloed heeft (zoals de investeringskosten, het onderhoud, etc.).
De investeringskosten staan op het tabblad "Year independent"
De onderhoudskosten zijn gemodelleerd als één bedrag op het tabblad "Year dependent"
De uitkomst van uw aanpassingen ziet u terug in een aangepast basisbedrag op het tabblad "Input_Output" in cel F40.
In cel F40 op het tabblad "input_Output" stond eerst een basisbedrag van € 45.6/MWh, na uw aanpassingen staat er het basisbedrag dat te verwachten is als gevolg van uw innovatie.
Wat moet u daarna doen?
Het nieuwe basisbedrag moet u invullen in het Excel-model 'Rekenmodel Besparing 2020' over de totale looptijd van max 15 jaar berekent.
In dit model vult u daarnaast ook de verwachte (toepassing op) aantallen turbines/parken in Nederland per jaar in inclusief het verwachte vermogen.
Het 'Rekenmodel Besparing 2020' rekent vervolgens door wat de kostenvoordelen zijn bij de bouw en exploitatie van windparken op zee in Nederland.
Beide rekenmodellen (dit voorliggende,voor het nieuwe basisbedrag en het model dat de kostenvoordelen berekent), dient u mee te sturen bij indiening van uw subsidieaanvraag.

## Project
Type | offshore
Number of wind turbines | 88 | #
Rated power | 8 | MW per turbine
Long term average windspeed at hub height |  | m/s
Net electricity production | 3097.6 | GWh/year
Currency | €
Fixed annual costs unit | €/kW
Variable annual costs unit | €/kWh
Required base rate (result of calculation) | 45.5726 | €/MWh

## Year independent
INPUT PARAMETERS |  |  |  | Unit | Input value | Value used | Formula
|  | Wind turbines |  | €/kW | 1060 | 1060 | a
|  | Wind turbine transportation |  | €/kW |  | 0 | b
|  | Installation |  | €/kW |  | 0 | c
| Wind turbines |  |  | €/kW |  | 1060 | D=a+b+c
| Foundations |  |  | €/kW | 350 | 350 | E
|  | Internal grid |  | €/kW |  | value overruled | f
|  | Grid connection, grid code compliance |  | €/kW |  | value overruled | g
|  | Grid reinforcement |  | €/kW |  | value overruled | h
|  | Cables and transformer stations |  | €/kW |  | value overruled | i
| Electrical net / grid |  |  | €/kW | 119 | 119 | J=f+g+h+i
|  |  | Certification | €/kW |  | value overruled | k1
|  |  | Environmental and geotechnical surveys | €/kW |  | value overruled | k2
|  | Project development |  | €/kW |  | value overruled | k=k1+k2
|  | O&M facilities |  | €/kW |  | value overruled | l
|  | Miscellaneous |  | €/kW |  | value overruled | m
|  | Interest payment before operation |  | €/kW |  | value overruled | n
| Project costs |  |  | €/kW | 212 | 212 | O=k+l+m+n
Investment costs |  |  |  | €/kW |  | 1741 | P=D+E+J+O
| Decommisioning, excl. scrap value |  |  | €/kW |  | value overruled | q
| Scrap value |  |  | €/kW |  | value overruled | r
Decommisioning |  |  |  | €/kW | 44 | 44 | S=q-r
Operational time / full load hours |  |  |  | h/yr | 4355 | 4355
Investment-I: year 0 |  |  |  |  | 30% | 30%
Investment-II: year 1 |  |  |  |  | 70% | 70%
Investment-III: year 2 |  |  |  |  | 0% | 0%
Part of farm commission in Fase I |  |  |  |  | 100% | 100%
Lead time Part I of farm |  |  |  | yr | 1 | 1
Part of farm commission in Fase II |  |  |  |  | 0% | 0%
Lead time Part II of farm |  |  |  | yr | 1 | 1
Economic life |  |  |  | yr | 25 | 25
Licence periode |  |  |  | yr | 25 | 25
| Policy period (during which subsidies are paid) |  |  | yr | 15 | 15
Loan duration |  |  |  | yr | 15 | 15
Depreciation period |  |  |  | yr | 15 | 15
Inflation operational costs |  |  |  |  | 2% | 2%
Inflation capital costs |  |  |  |  | 0% | 0%
Return on debt |  |  |  |  | 2.5% | 2.5%
Required return on equity |  |  |  |  | 12% | 12%
Equity share |  |  |  |  | 30% | 30%
Debt share |  |  |  |  | 70% | 70%
Corporate tax rate |  |  |  |  | 25% | 25%
Maximum nr of full load hours subsidised |  |  |  | h/yr | 8760 | 8760

## Year dependent
Fixed value (ignoring yearly values)
[6 empty] | Value used |  |  |  | Year dependent values | [29 empty] | Auxiliary table
INPUT PARAMETERS |  |  | Unit |  | Average | (average) | Formula |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  | Scheduled maintenance | €/kWh |  | 0 | value overruled | a |  | €/kW | [30 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Unscheduled repairs | €/kW |  | 0 | value overruled | b |  | €/kWh | [30 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Operation | €/kWh |  | 0 | value overruled | c | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Service contracts | €/kW |  | 0 | value overruled | d | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| O&M costs, fixed part |  | €/kW |  | 0 | value overruled | E=a+b+c+d | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| O&M costs, variable part |  | €/kWh |  | 0 | value overruled | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Administration |  | €/kW |  | 0 | value overruled | F | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Insurance, including risk identification |  | €/kW |  | 0 | value overruled | G | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Grid charges | €/kW |  | 0 | value overruled | h | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Transaction fees | €/kWh |  | 0 | value overruled | i | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid costs, fixed part |  | €/kW |  | 0 | value overruled | J=h+i | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grid costs, variable part |  | €/kWh |  | 0 | value overruled | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Site lease |  | €/kW |  | 0 | value overruled | K | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Taxes |  | €/kW |  | 0 | value overruled | L | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Electricity consumption | €/kWh |  | 0 | value overruled | m | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Environmental measurements, evaluations, etc. | €/kW |  | 0 | value overruled | n | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other costs, fixed part |  | €/kW |  | 0 | value overruled | O=m+n | [32 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other costs, variable part |  | €/kWh |  | 0 | value overruled | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual costs, fixed part |  |  | €/kW | 41.1 | 41.1 | 41.1 | P=E+F+G+J+K+L+O | [32 empty] | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1
Annual costs, variable part |  |  | €/kWh | 0 | 0 | 0 | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[40 empty] | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1 | 41.1
Market prices source: NEV 2017 (PBL/ECN) | [7 empty] | year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market price electricity (including profiling costs) |  |  | €/kWh | 0.037 | 0.037 | 0.037 |  |  |  | 0.0358 | 0.0358 | 0.0358 | 0.0355 | 0.0355 | 0.0356 | 0.0359 | 0.0359 | 0.0359 | 0.036 | 0.0361 | 0.0361 | 0.036 | 0.0357 | 0.0356 | 0.0352 | 0.035 | 0.0344 | 0.0344 | 0.0343 | 0.0342 | 0.0341 | 0.0341 | 0.034 | 0.0339 | 0.0339 | 0.0335 | 0.0335 | 0.0335 | 0.0335 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037
Market price certificates |  |  | €/kWh | 0 | 0 | 0 | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Price discounts (balancing costs) |  |  | €/kWh | 0 | 0 | 0 | [33 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accelerated Depreciation |  |  |  | no |  |  | Depreciation scheme (if applicable) |  |  | 1: 100% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Input_Output
|  |  |  | Fixed or average value | Year dependent multiplier
| Symbol | INPUT PARAMETERS | Unit |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Project features | U | Unit size | kWe | 704000
| H | Operational time / full load hours | h/yr | 4355
| Tb | Economic life | yr | 25
|  | Licence periode | yr | 25
|  | Investment-I: year 0 |  | 30%
|  | Investment-II: year 1 |  | 70%
|  | Investment-III: year 2 |  | 0%
|  | Part of farm commission in Fase I |  | 100%
|  | Lead time Part I of farm | yr | 1
|  | Part of farm commission in Fase II |  | 0%
|  | Lead time Part II of farm | yr | 1 | Year dependent multiplier 1: Make sure this number is the same as Lead time part I if you don't use part II
Costs | Ctot / U | Investment costs | €/kW | 1741
|  | Decommisioning costs | €/kW | 44
| cf | Maintenance costs fixed | €/kW | 41.1 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| cv | Maintenance costs variable | €/kWh | 0 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  | Miscellaneuos operational costs | €/kWh
Market | pe | Market price electricity and certificates | €/kWh | 0.037 | 96.76% | 95.95% | 95.95% | 96.22% | 97.03% | 97.03% | 97.03% | 97.3% | 97.57% | 97.57% | 97.3% | 96.49% | 96.22% | 95.14% | 94.59% | 92.97% | 92.97% | 92.7% | 92.43% | 92.16% | 92.16% | 91.89% | 91.62% | 91.62% | 90.54% | 90.54% | 90.54% | 90.54%
|  | Price discount | €/kWh | 0 | bar: Year dependent multiplier 1 to Year dependent multiplier 30
Financial incentives: Energy Investment Allowance |  | Energy Investment Allowance |  | no
| e | EIA rate
|  | EIA company maximum | €
|  | EIA project maximum | €/kWe
Part of investment costs eligible for EIA (maximum)
EIA for current project as part of total investment costs
Project financing features | CPI | Inflation operational costs |  | 2%
|  | Inflation capital costs |  | 2%
| Rd | Return on debt |  | 2.5%
| Re | Required return on equity |  | 12%
| e | Equity share (excluding EIA benefit) |  | 30%
| d | Debt share (including EIA benefit) |  | 70%
| t | Corporate tax rate |  | 25%
Time horizons | Tr | Loan duration | yr | 15
| Td | Depreciation period | yr | 15 | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Tp | Policy period (during which subsidies are paid) | yr | 15
|  | Maximum nr of full load hours subsidised | h/yr | 8760
Output | FG | Financial gap | €/MWh | 45.5726

## Cashflow
| Symbol | Positive amounts = beneficial for the producer | year t | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Ctot | Investment | € | -367699200 | -875124096 | 0
|  | Electricity production part I farm | kWh |  | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 0 | 0 | 0 | 0 | 0 | 0
|  | Electricity production part II farm | kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Q | Total electricity production | kWh |  | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 0 | 0 | 0 | 0 | 0 | 0
| QI | Electricity production part I farm elegible for subsidy | kWh |  | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QII | Electricity production part II farm elegible for subsidy |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Qnes | Total electricity production not elegible for subsidy | kWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 3065920000 | 0 | 0 | 0 | 0 | 0 | 0
| Qnes∙pe | Market value electricity | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105467648 | 105467648 | 105161056 | 104854464 | 104547872 | 104547872 | 104241280 | 103934688 | 103934688 | 102708320 | 0 | 0 | 0 | 0 | 0 | 0
I |  | Income total (inflation adjusted) | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141945568.1607 | 144784479.5239 | 147250866.2972 | 149757994.7496 | 152306507.9936 | 155352638.1535 | 157994999.7408 | 160680914.7364 | 163894533.0312 | 165199887.719 | 0 | 0 | 0 | 0 | 0 | 0
| cf-I | Fixed operational costs part I farm | € |  | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | -28934400 | 0 | 0 | 0 | 0 | 0 | 0
| cf-II | Fixed operational costs part II farm | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| cv | Variable operational costs | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Decommisioning costs | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30976000 | 0 | 0 | 0 | 0 | 0
c |  | Costs total (inflation adjusted) | € |  | -28934400 | -29513088 | -30103349.76 | -30705416.7552 | -31319525.0903 | -31945915.5921 | -32584833.904 | -33236530.582 | -33901261.1937 | -34579286.4175 | -35270872.1459 | -35976289.5888 | -36695815.3806 | -37429731.6882 | -38178326.322 | -38941892.8484 | -39720730.7054 | -40515145.3195 | -41325448.2259 | -42151957.1904 | -42994996.3342 | -43854896.2609 | -44731994.1861 | -45626634.0698 | -46539166.7512 | -50819411.2845 | 0 | 0 | 0 | 0 | 0
GI | c+I | Gross income | € |  | -28934400 | -29513088 | -30103349.76 | -30705416.7552 | -31319525.0903 | -31945915.5921 | -32584833.904 | -33236530.582 | -33901261.1937 | -34579286.4175 | -35270872.1459 | -35976289.5888 | -36695815.3806 | -37429731.6882 | -38178326.322 | 103003675.3123 | 105063748.8186 | 106735720.9777 | 108432546.5238 | 110154550.8032 | 112357641.8193 | 114140103.48 | 115948920.5503 | 118267898.9613 | 118660720.9678 | -50819411.2845 | 0 | 0 | 0 | 0 | 0
|  | Amortisation investment-I | € |  | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | -24513280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Amortisation investment-II | € |  | 0 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | -58341606.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Amortisation investment-III | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a |  | Amortisation total | € |  | -24513280 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -82854886.4 | -58341606.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interest-I | € |  | -6434736 | -6075893.5777 | -5708080.0947 | -5331071.2748 | -4944637.2343 | -4548542.3428 | -4142545.079 | -3726397.8837 | -3299847.0084 | -2862632.3613 | -2414487.3479 | -1955138.7093 | -1484306.3547 | -1001703.1912 | -507034.9486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Redemption-I | € |  | -14353696.8939 | -14712539.3162 | -15080352.7991 | -15457361.6191 | -15843795.6596 | -16239890.5511 | -16645887.8149 | -17062035.0102 | -17488585.8855 | -17925800.5326 | -18373945.5459 | -18833294.1846 | -19304126.5392 | -19786729.7027 | -20281397.9453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total loan costs-I | € |  | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | -20788432.8939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interest-II | € |  | 0 | -15314671.68 | -14460626.7148 | -13585230.6255 | -12687949.6339 | -11768236.6176 | -10825530.7759 | -9859257.2881 | -8868826.9631 | -7853635.88 | -6813065.0198 | -5746479.8881 | -4653230.1281 | -3532649.1241 | -2384053.5951 | -1206743.1777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Redemption-II | € |  | 0 | -34161798.6075 | -35015843.5726 | -35891239.662 | -36788520.6535 | -37708233.6698 | -38650939.5116 | -39617212.9994 | -40607643.3244 | -41622834.4075 | -42663405.2677 | -43729990.3994 | -44823240.1593 | -45943821.1633 | -47092416.6924 | -48269727.1097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total loan costs-I | € |  | 0 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | -49476470.2875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interest-III | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Redemption-III | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total loan costs-III | € |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
i | i | Total interest | € |  | -6434736 | -21390565.2577 | -20168706.8096 | -18916301.9003 | -17632586.8682 | -16316778.9604 | -14968075.8549 | -13585655.1717 | -12168673.9715 | -10716268.2412 | -9227552.3677 | -7701618.5974 | -6137536.4828 | -4534352.3153 | -2891088.5437 | -1206743.1777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
r | r | Total redemption | € |  | -14353696.8939 | -48874337.9237 | -50096196.3718 | -51348601.2811 | -52632316.3131 | -53948124.2209 | -55296827.3265 | -56679248.0096 | -58096229.2099 | -59548634.9401 | -61037350.8136 | -62563284.5839 | -64127366.6985 | -65730550.866 | -67373814.6377 | -48269727.1097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A | i+r | Total total loan costs | € |  | -20788432.8939 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -70264903.1813 | -49476470.2875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TI | E+a+i | Taxable income | € |  | -59882416 | -133758539.6577 | -133126942.9696 | -132476605.0555 | -131806998.3585 | -131117580.9525 | -130407796.1588 | -129677072.1538 | -128924821.5652 | -128150441.0588 | -127353310.9136 | -126532794.5862 | -125688238.2634 | -124818970.4035 | -123924301.2657 | 43455325.7346 | 105063748.8186 | 106735720.9777 | 108432546.5238 | 110154550.8032 | 112357641.8193 | 114140103.48 | 115948920.5503 | 118267898.9613 | 118660720.9678 | -50819411.2845 | 0 | 0 | 0 | 0 | 0
tax | t∙TI | Tax amount | € |  | 14970604 | 33439634.9144 | 33281735.7424 | 33119151.2639 | 32951749.5896 | 32779395.2381 | 32601949.0397 | 32419268.0384 | 32231205.3913 | 32037610.2647 | 31838327.7284 | 31633198.6466 | 31422059.5658 | 31204742.6009 | 30981075.3164 | -10863831.4336 | -26265937.2046 | -26683930.2444 | -27108136.6309 | -27538637.7008 | -28089410.4548 | -28535025.87 | -28987230.1376 | -29566974.7403 | -29665180.242 | 12704852.8211 | 0 | 0 | 0 | 0 | 0
IT | GI+A+tax | Net income after tax | € |  | -34752228.8939 | -66338356.2669 | -67086517.199 | -67851168.6727 | -68632678.682 | -69431423.5353 | -70247788.0456 | -71082165.7249 | -71934958.9837 | -72806579.3342 | -73697447.5988 | -74607994.1236 | -75538658.9961 | -76489892.2687 | -77462154.1869 | 42663373.5912 | 78797811.6139 | 80051790.7333 | 81324409.8928 | 82615913.1024 | 84268231.3645 | 85605077.61 | 86961690.4128 | 88700924.221 | 88995540.7259 | -38114558.4634 | 0 | 0 | 0 | 0 | 0
| NPV(IT) | Net Present Value net income | € | -369003087.4781 | -31028775.7981 | -52884531.4628 | -47750857.8368 | -43120644.3324 | -38944025.0641 | -35176119.9506 | -31776531.8016 | -28708894.5448 | -25940467.3562 | -23441769.9933 | -21186255.1177 | -19150013.8261 | -17311510.9989 | -15651347.423 | -14152045.9594 | 6959320.4 | 11476455.3393 | 10409902.0551 | 9442315.1152 | 8564524.4555 | 7799834.772 | 7074618.5191 | 6416725.3632 | 5843803.4558 | 5235011.9739 | -2001807.4612 | 0 | 0 | 0 | 0 | 0
| NPV(QI+QII) | Discounted electricity production |  | 15661174241.6554 | 2053071428.5714 | 1833099489.7959 | 1636695973.0321 | 1461335690.2072 | 1304764009.1136 | 1164967865.28 | 1040149879.7143 | 928705249.7449 | 829201115.8436 | 740358139.1461 | 661034052.809 | 590208975.7223 | 526972299.7521 | 470510981.9215 | 420099091.0014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Discounted Equity |  | 344718000 | 234408240 | 0
|  | Investment sum-I | 367699200
|  | Investment sum-II | 875124096
|  | Investment sum-III | 0
| Ctot | Total investment sum | 1242823296
|  | WACC voor belasting | 5.35%
| WACC | Project return | 4.912%
| DSCR | Debt service coverage ratio | 2.6279
| EIA /e | Investment part eligible for EIA - I | 0
|  | Investment part eligible for EIA - II | 0
| EIA | Energy Investment Allowance - I | 0
|  | Energy Investment Allowance - II | 0
| NPV(EIA) | Net present value of EIA - II | 0
|  | Net present value of EIA - II | 0
| D | Debt investment I | 257389440
|  | Debt investment II | 612586867.2
|  | Debt investment III | 0
|  | Debt total | 869976307.2
| E | Equity investment I | 110309760
|  | Equity investment II | 262537228.8
|  | Equity investment III | 0
|  | Equity | 372846988.8