## Kleurcodering
Tabel Nationaal en Internationaal scenario KEC 4.0 wind op zee
versie 21-4-2021
Groen | bijgeschat op basis van aannames
Blauw | floating windparken
Rood | niet meenemen in berekeningen, onrealistisch, pilotpark
Geel
Roze | Kleur nederlandse GIS bestand
Oranje
Geel jaartal | Mogelijk afgebroken na 2030
Aannamens in bestand Memo Scenario en varianten KEC 4.0 versie 8

## Belgie
Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
BE01 | Belgium | Thornton Bank phase I | Zone 1, C-Power | Fully Commissioned | Concession identified through decree of May 2004 | 2008 | High | 30 | 5.075 | 6 | 157 | 94 | 126 | Grounded: Gravity-Base | 20 | 20 | 0.43 |  | 51.5439 | 2.9385
BE02 | Belgium | Northwind | Eldepasco, Zone 2 and Bank Zonder Naam | Fully Commissioned | Concession identified through decree of May 2004 | 2013 | High | 216 | 3 | 72 | 127 | 71 | 112 | Grounded: Monopile | 15.3 | 23 | 13.84 |  | 51.6194 | 2.9018
BE03 | Belgium | Belwind | Zone 3 and Bligh Bank | Fully Commissioned | Concession identified through decree of May 2004 | 2009 | High | 165 | 3 | 55 | 117 | 72 | 90 | Grounded: Monopile | 11.6 | 20 | 13.08 |  | 51.6702 | 2.8028
BE04 | Belgium | Norther | North Sea Power, Norther | Fully Commissioned | Concession identified through decree of May 2004 | 2018 | High | 369.6 | 8.4 | 44 | 183 | 101 | 164 | Grounded: Monopile | 13 | 26 | 38.41 |  | 51.5269 | 3.0132
BE05 | Belgium | Rentel |  | Fully Commissioned | Concession identified through decree of May 2004 | 2017 | High | 309 | 7 | 42 | 183 | 106 | 154 | Grounded: Monopile | 23.5 | 34 | 23.25 |  | 51.5913 | 2.9446
BE06 | Belgium | Seamade (SeaStar) | Zone 6 | Fully Commissioned | Concession identified through decree of May 2004 | 2019 | High | 252 | 8.4 | 30 | 192.5 | 109 | 167 | Grounded: Monopile | 20 | 26.5 | 18.41 |  | 51.6342 | 2.8617
BE07 | Belgium | Seamade (Mermaid) | Zone 7 | Fully Commissioned | Concession identified through decree of May 2004 | 2019 | High | 235 | 8.4 | 28 | 192.5 | 109 | 167 | Grounded: Monopile | 26 | 26 | 16.27 |  | 51.7186 | 2.7395
BE08 | Belgium | Nobelwind | Belwind Phase 2, Zone 3 Bligh Bank 2 | Fully Commissioned | Concession identified through decree of May 2004 | 2016 | High | 165 | 3.3 | 50 | 135 | 79 | 112 | Grounded: Monopile | 20 | 33 | 22.25 |  | 51.6644 | 2.8165
BE09 | Belgium | Thornton Bank phase II | Zone 1, C-Power 2 | Fully Commissioned | Concession identified through decree of May 2004 | 2010 | High | 184.5 | 6.15 | 30 | 158 | 95 | 126 | Grounded: Jacket (Piled) | 5.9 | 20 | 12.12 |  | 51.5564 | 2.9692
BE10 | Belgium | Thornton Bank phase III | Zone 1, C-Power 2 | Fully Commissioned | Concession identified through decree of May 2004 | 2011 | High | 110.7 | 6.15 | 18 | 158 | 95 | 126 | Grounded: Jacket (Piled) | 10.2 | 21.5 | 7.29 |  | 51.5403 | 2.9218
BE12 | Belgium | Northwester 2 | Zone 7 | Fully Commissioned | Concession identified through decree of May 2004 | 2019 | High | 219 | 9.5 | 23 | 187 | 105 | 164 | Grounded: Monopile | 24.5 | 37 | 11.8 |  | 51.6868 | 2.7529
BE14 | Belgium | Princess Elisabeth - Noordhinder Noord - 2023 Tender | Prinses Elisabeth Zone, Fairybank, Noordhinder North, Noordhinder South | Development Zone | 2023 Tender | 2025 | Medium | 700 | 12 | 59 | 245 | 135 | 220 | Grounded: Not Specified | 8.1 | 33 | 45.9473 | 70 | 51.6211 | 2.5567
BE15 | Belgium | Princess Elisabeth - Fairybank/Nordhinder Zuid - 2025 Tender | Prinses Elisabeth Zone, Fairybank, Noordhinder North, Noordhinder South | Development Zone | 2025 Tender | 2027 | Medium | 1400 | 15 | 94 | 261 | 143 | 236 | Grounded: Not Specified | 4.9 | 35 | 238.5352 | 140 | 51.4731 | 2.4393
Note on E1: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on H1: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on P1: 4C: Min depth from nautical charts within perimeter of park
Note on Q1: 4C: Max depth from nautical charts within perimeter of park

## Duitsland
Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
DE39 | Germany | Albatros | Hohe Extension, Albatros 1 | Fully Commissioned |  | 2019 | High | 112 | 7 | 16 | 182 | 105 | 154 | Grounded: Monopile | 40 | 40 | 10.5397 |  | 54.486 | 6.2491
DE01 | Germany | Alpha Ventus | Borkum West I | Fully Commissioned |  | 2008 | High | 60 | 5 | 12 | 151 | 92 | 120 | Various | 28 | 30 | 3.93 |  | 54.0109 | 6.6065
DE05 | Germany | Amrumbank West |  | Fully Commissioned |  | 2013 | High | 302 | 3.775 | 80 | 150 | 90 | 120 | Grounded: Monopile | 20 | 25 | 30.1822 |  | 54.523 | 7.7057
DE23 | Germany | BARD Offshore 1 | BARD | Fully Commissioned |  | 2010 | High | 400 | 5 | 80 | 151 | 90 | 122 | Grounded: Tripile | 39 | 41 | 58.92 |  | 54.3554 | 5.9809
DE04 | Germany | Borkum Riffgrund 1 |  | Fully Commissioned |  | 2013 | High | 312 | 4 | 78 | 147 | 87 | 120 | Various | 23 | 29 | 35.4469 |  | 53.9673 | 6.5541
DE30 | Germany | Borkum Riffgrund 2 |  | Fully Commissioned |  | 2018 | High | 450 | 8.3 | 56 | 187 | 105 | 164 | Various | 25 | 29 | 35.9707 |  | 53.9518 | 6.4875
DE03 | Germany | Borkum Riffgrund 3 | German Cluster Offshore Windfarm 1, Borkum Riffgrund West 1, Borkum Riffgrund West 2, OWP West. | Consent Authorised | WindSeeG: 1st and 2nd Tender | 2023 | High | 900 | 11 | 81 | 225 | 125 | 200 | Grounded: Not Specified | 29 | 31 | 59.61 |  | 54.0462 | 6.1933
DE08 | Germany | Butendiek | Offshore-Bürgerpark Butendiek | Fully Commissioned |  | 2014 | High | 288 | 3.6 | 80 | 150 | 90 | 120 | Grounded: Monopile | 18.4 | 21 | 31.2895 |  | 55.0175 | 7.774
DE02 | Germany | DanTysk | Dan Tysk, Dantysk | Fully Commissioned |  | 2013 | High | 288 | 3.6 | 80 | 148 | 88 | 120 | Grounded: Monopile | 21 | 29 | 65.66 |  | 55.1377 | 7.2008
DE24 | Germany | Deutsche Bucht | DBU, Debu | Fully Commissioned |  | 2018 | High | 252 | 8.4 | 31 | 190 | 108 | 164 | Grounded: Monopile | 38 | 40 | 17.6022 |  | 54.3054 | 5.793
DE19 | Germany | EnBW He Dreiht | Hochsee Windpark He dreiht | Consent Authorised | WindSeeG: 1st Tender | 2024 | High | 900 | 10 | 70 | 218 | 121.5 | 193 | Grounded: Monopile | 37 | 40 | 62.5 |  | 54.3653 | 6.1865
DE09 | Germany | Global Tech I | GT1 | Fully Commissioned |  | 2012 | High | 400 | 5 | 80 | 140 | 82 | 116 | Grounded: Tripod | 38 | 41 | 40.4929 |  | 54.5089 | 6.3654
DE13 | Germany | Gode Wind 1 and 2 | Gode Wind I and II | Fully Commissioned |  | 2015 | High | 582 | 6.264 | 97 | 188 | 111 | 154 | Grounded: Monopile | 28 | 34 | 69.372 |  | 54.0412 | 6.9945
DE0H | Germany | Gode Wind 3 | Gode Wind 03, Gode Wind 04, Gode Wind III, Gode Wind IV | Consent Authorised | WindSeeG: 1st and 2nd Tender | 2023 | High | 241.75 | 11 | 22 | 225 | 125 | 200 | Grounded: Not Specified | 30 | 34 | 13.64 |  | 54.0375 | 7.1046
DE11 | Germany | Hohe See | Hochsee Windpark 'Nordsee' | Fully Commissioned |  | 2018 | High | 497 | 7 | 71 | 182 | 105 | 154 | Grounded: Monopile | 39 | 40 | 40.518 |  | 54.4433 | 6.3299
DE33 | Germany | Kaskasi | Kaskasi II, (formerly) Hochsee testfeld Helgoland | Pre-Construction | WindSeeG: 2nd Tender | 2021 | High | 342 | 9 | 38 | 191 | 107.5 | 167 | Grounded: Monopile | 22 | 26 | 17.34 |  | 54.4891 | 7.6955
DE07 | Germany | Meerwind Süd/Ost | Meerwind | Fully Commissioned |  | 2012 | High | 288 | 3.6 | 80 | 149 | 89 | 120 | Grounded: Monopile | 24 | 27 | 39.8008 |  | 54.3922 | 7.7041
DE26 | Germany | Merkur | MEG Offshore I | Fully Commissioned |  | 2017 | High | 396 | 6 | 66 | 177.6 | 102.6 | 150 | Grounded: Monopile | 27 | 33 | 39.326 |  | 54.0431 | 6.5537
DE3C | Germany | N-10.1 |  | Development Zone | German Central Tender 2025 | 2029 | Medium | 1000 | 15 | 57 | 261 | 143 | 236 | Grounded: Not Specified | 41 | 42 | 95.8385 | 100 | 54.6019 | 6.1434
DE3I | Germany | N-10.2 |  | Development Zone | German Central Tender 2025 | 2029 | Medium | 700 | 15 | 47 | 261 | 143 | 236 | Grounded: Not Specified | 41 | 41 | 92.9743 | 70 | 54.675 | 5.9851
DE3D | Germany | N-11-1 |  | Development Zone | German Central Tender 2026+ | 2031 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 39 | 42 |  | 100 | 54.7822 | 6.3722
DE3O | Germany | N-11-2 |  | Development Zone | German Central Tender 2026+ | 2031 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 39 | 42 |  | 100 | 54.7822 | 6.3722
DE3P | Germany | N-11-3 |  | Development Zone | German Central Tender 2026+ | 2030 | Low |  | 20 |  |  |  |  | Grounded: Not Specified | 39 | 42 |  |  | 54.7822 | 6.3722
DE3E | Germany | N-12.1 |  | Development Zone | German Central Tender 2026+ | 2034 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 38 | 44 |  | 100 | 54.8447 | 6.1465
DE3J | Germany | N-12.2 |  | Development Zone | German Central Tender 2026+ | 2034 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 38 | 44 |  | 100 | 54.8447 | 6.1465
DE3K | Germany | N-12.3 |  | Development Zone | German Central Tender 2026+ | 2033 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 38 | 44 |  | 100 | 54.8447 | 6.1465
DE3M | Germany | N-12.4 |  | Development Zone | German Central Tender 2026+ | 2033 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 38 | 44 |  | 100 | 54.8447 | 6.1465
DE3N | Germany | N-12.5 |  | Development Zone | German Central Tender 2026+ | 2030 | Low |  | 20 |  |  |  |  | Grounded: Not Specified | 38 | 44 |  |  | 54.8447 | 6.1465
DE3F | Germany | N-13-1 |  | Development Zone | German Central Tender 2026+ | 2032 | Low |  | 20 |  |  |  |  | Grounded: Not Specified | 40 | 48 |  |  | 55.0606 | 6.3581
DE3Q | Germany | N-13-2 |  | Development Zone | German Central Tender 2026+ | 2032 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 40 | 48 |  | 100 | 55.0606 | 6.3581
DE3R | Germany | N-13-3 |  | Development Zone | German Central Tender 2026+ | 2030 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 40 | 48 |  | 100 | 55.0606 | 6.3581
DE2Q | Germany | N-3.5 |  | Development Zone | German Central Tender 2023 | 2027 | Medium | 420 | 15 | 28 | 261 | 143 | 236 | Grounded: Not Specified | 29 | 33 | 29.0532 | 42 | 54.0257 | 6.849
DE2R | Germany | N-3.6 |  | Development Zone | German Central Tender 2023 | 2027 | Medium | 480 | 15 | 32 | 261 | 143 | 236 | Grounded: Not Specified | 30 | 34 | 32.8573 | 48 | 54.0457 | 6.7723
DE2S | Germany | N-3.7 |  | Development Zone | German Central Tender 2021 | 2025 | Medium | 225 | 15 | 15 | 261 | 143 | 236 | Grounded: Not Specified | 30 | 32 | 17.31 | 22.5 | 54.0449 | 7.0621
DE2T | Germany | N-3.8 |  | Development Zone | German Central Tender 2021 | 2025 | Medium | 433 | 15 | 29 | 261 | 143 | 236 | Grounded: Not Specified | 33 | 33 | 23.11 | 43.3 | 54.068 | 6.8933
DE2U | Germany | N-5 |  | Development Zone | German Central Tender |  | Low |  | 20 |  |  |  |  | Grounded: Not Specified | 25.5 | 34 | 55.55 |  | 55.0649 | 6.9296
DE2V | Germany | N-6.6 |  | Development Zone | German Central Tender 2024 | 2028 | Medium | 630 | 15 | 42 | 261 | 143 | 236 | Grounded: Not Specified | 38 | 39 | 43.8098 | 63 | 54.2659 | 5.9536
DE2W | Germany | N-6.7 |  | Development Zone | German Central Tender 2024 | 2028 | Medium | 270 | 15 | 18 | 261 | 143 | 236 | Grounded: Not Specified | 40 | 40 | 15.8427 | 270 | 54.3606 | 5.8454
DE2X | Germany | N-7.2 |  | Development Zone | German Central Tender 2022 | 2026 | Medium | 930 | 15 | 62 | 261 | 143 | 236 | Grounded: Not Specified | 37 | 39 | 58.4012 | 93 | 54.2883 | 6.2236
DE2Z | Germany | N-8.4 |  | Development Zone | German Central Tender | 2026 | Medium | 425 | 15 | 28 | 261 | 143 | 236 | Grounded: Not Specified | 40 | 40 | 28.7978 | 42.5 | 54.5346 | 6.3136
DE3A | Germany | N-9.1 |  | Development Zone | German Central Tender 2024 | 2028 | Medium | 1000 | 15 | 67 | 261 | 143 | 236 | Grounded: Not Specified | 41 | 42 | 100.2481 | 100 | 54.4375 | 5.7651
DE3B | Germany | N-9.2 |  | Development Zone | German Central Tender 2024 | 2028 | Medium | 1000 | 15 | 67 | 261 | 143 | 236 | Grounded: Not Specified | 41 | 41 | 105.4152 | 100 | 54.5213 | 5.8998
DE3S | Germany | N-9.3 |  | Development Zone | German Central Tender 2025 | 2029 | Medium | 1000 | 15 | 67 | 261 | 143 | 236 | Grounded: Not Specified | 40 | 43 |  | 100 | 54.4363 | 5.6309
DE3T | Germany | N-9.4 |  | Development Zone | German Central Tender 2025 | 2029 | Medium | 1000 | 15 | 67 | 261 | 143 | 236 | Grounded: Not Specified | 41 | 42 |  | 100 | 54.5595 | 5.7551
DE20 | Germany | Nordergründe | OWP Nordergründe, Nordergrunde | Fully Commissioned |  | 2016 | High | 110.7 | 6.15 | 18 | 147 | 84 | 126 | Grounded: Monopile | 3 | 11 | 3.4362 |  | 53.835 | 8.1692
DE28 | Germany | Nordsee One | Innogy Nordsee 1 , Innogy Nordsee 1 Phase 1, North Sea Windpower 3 NSWP3 | Fully Commissioned |  | 2015 | High | 332.1 | 6.15 | 54 | 153 | 90 | 126 | Grounded: Monopile | 28 | 29 | 29.7885 |  | 53.9816 | 6.8173
DE06 | Germany | Nordsee Ost | Innogy Nordsee Ost | Fully Commissioned |  | 2012 | High | 295.2 | 6.15 | 48 | 155 | 92 | 126 | Grounded: Jacket (Piled) | 22 | 25 | 35.3534 |  | 54.4446 | 7.6822
DE21 | Germany | Riffgat | OWP Riffgat, Borkum Riffgat | Fully Commissioned |  | 2012 | High | 108 | 3.6 | 30 | 150 | 90 | 120 | Grounded: Monopile | 18 | 23 | 5.97 |  | 53.6924 | 6.4754
DE12 | Germany | Sandbank | Sandbank24 | Fully Commissioned |  | 2015 | High | 288 | 4 | 72 | 159.75 | 94.75 | 130 | Grounded: Monopile | 25.5 | 29 | 47.1335 |  | 55.1996 | 6.8524
DE27 | Germany | Trianel Windpark Borkum I | Borkum West II Phase 1, Trianel Borkum, Borkum Phase I | Fully Commissioned |  | 2011 | High | 200 | 5 | 40 | 148 | 90 | 116 | Grounded: Tripod | 28 | 33 | 22.64 |  | 54.0464 | 6.4575
DE0K | Germany | Trianel Windpark Borkum II | Borkum West II Phase 2, TWB II | Fully Commissioned |  | 2018 | High | 203 | 6.344 | 32 | 180.5 | 104.5 | 152 | Grounded: Monopile | 28 | 33 | 30.6714 |  | 54.0503 | 6.4637
DE36 | Germany | Veja Mate |  | Fully Commissioned |  | 2016 | High | 402 | 6 | 67 | 180.28 | 103.28 | 154 | Grounded: Monopile | 39 | 41 | 50.9102 |  | 54.3181 | 5.8728
Note on E1: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on H1: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on P1: 4C: Min depth from nautical charts within perimeter of park
Note on Q1: 4C: Max depth from nautical charts within perimeter of park

## Denemarken
Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
DK03 | Denmark | Horns Rev 1 |  | Fully Commissioned |  | 2002 | High | 160 | 2 | 80 | 110 | 70 | 80 | Grounded: Monopile | 6 | 11 | 20.67 |  | 55.4861 | 7.8404
DK10 | Denmark | Horns Rev 2 |  | Fully Commissioned | Tender (DK) | 2008 | High | 209.3 | 2.3 | 91 | 114.5 | 68 | 93 | Grounded: Monopile | 9 | 17 | 33.2101 |  | 55.6004 | 7.5825
DK19 | Denmark | Horns Rev 3 | Horns Rev A HR3-HR4 | Fully Commissioned | Tender (DK) | 2017 | High | 406.7 | 8.3 | 49 | 187 | 102 | 164 | Grounded: Monopile | 10.6 | 19.1 | 116.24 |  | 55.6941 | 7.6549
DK0V | Denmark | Nordsøen - Tender 1 |  | Development Zone |  | 2032 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 27.5 | 43 | 377.4151 | 100 | 56.5492 | 6.2643
DK1E | Denmark | Nordsøen - Tender 10 |  | Development Zone |  | 2032 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 42 | 45 | 283.58 | 100 | 55.8231 | 6.2916
DK0X | Denmark | Nordsøen - Tender 2 |  | Development Zone |  | 2032 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 35 | 42 | 396.89 | 100 | 56.6311 | 6.6724
DK0W | Denmark | Nordsøen - Tender 3 |  | Development Zone |  | 2032 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 38 | 44 | 355.4351 | 100 | 56.303 | 6.4183
DK0Y | Denmark | Nordsøen - Tender 4 |  | Development Zone |  | 2035 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 32 | 48 | 305.0593 | 100 | 56.7921 | 6.3226
DK0Z | Denmark | Nordsøen - Tender 5 |  | Development Zone |  | 2035 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 34 | 43 | 322.1293 | 100 | 56.2972 | 6.0826
DK1A | Denmark | Nordsøen - Tender 6 |  | Development Zone |  | 2036 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 30.5 | 40 | 335.0426 | 100 | 56.5322 | 7.0629
DK1B | Denmark | Nordsøen - Tender 7 |  | Development Zone |  | 2037 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 34 | 40 | 319.1787 | 100 | 56.3227 | 6.848
DK1C | Denmark | Nordsøen - Tender 8 |  | Development Zone |  | 2038 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 36 | 40 | 310.1003 | 100 | 56.08 | 6.5587
DK1D | Denmark | Nordsøen - Tender 9 |  | Development Zone |  | 2039 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 37 | 42 | 302.5588 | 100 | 56.0353 | 6.0692
DK0O | Denmark | Nordsøen I - Screened Area - Direct Connection to Land |  | Development Zone | Reserved Area | [8 empty] | Grounded: Not Specified | 10 | 38 | 2797.28 |  | 55.9773 | 7.3956
DK49 | Denmark | Nordsøen II - Screened Area - Island Connection |  | Development Zone | Reserved Area | [8 empty] | Grounded: Not Specified | 32 | 44 | 827.865 |  | 56.2808 | 6.8302
DK0P | Denmark | Nordsøen III - Screened Area - Island Connection |  | Development Zone | Reserved Area | [8 empty] | Grounded: Not Specified | 27 | 41 | 756.0539 |  | 56.64 | 6.5659
DK22 | Denmark | Thor - 2020 Tender | Horns Rev 4 | Development Zone | 2019 Tender (DK) | 2025 | Medium | 1000 | 16 | 75 | 261 | 143 | 236 | Grounded: Not Specified | 27 | 34 | 439.99 | 100 | 56.3254 | 7.6524
DK0U | Denmark | Vest Nordsøen II + III - Screened Area - Island Connection |  | Development Zone | [9 empty] | Grounded: Not Specified | 28 | 58 | 4044.1286 |  | 56.2096 | 5.9103
DK48 | Denmark | Vesterhav Nord/Syd | North Sea (south) | Consent Authorised | Nearshore Tender (DK) | 2022 | Medium | 344 | 8.4 | 41 | 193 | 109 | 167 | Grounded: Monopile | 16 | 24 | 105.3 | 34.4 | 56.3776 | 8.0223
Note on E1: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on H1: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on P1: 4C: Min depth from nautical charts within perimeter of park
Note on Q1: 4C: Max depth from nautical charts within perimeter of park

## Nederland
Let op drie GISbestanden (oranje, geel en roze)
|  |  | Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
ObjectID 14 | tot 2023 | Routekaart 2023 | NL0B | Netherlands | Borssele 1 | Orsted | Fully Commissioned | 2016 Tender | 2020 | High | 376 | 8 | 47 | 192 | 108 | 167 | Grounded: Monopile | 15.6 | 38 | 56 |  | 51.683 | 3.0662
ObjectID 1 | tot 2023 | Routekaart 2023 | NL0B | Netherlands | Borssele 2 | Orsted | Fully Commissioned | 2016 Tender | 2020 | High | 376 | 8 | 47 | 192 | 108 | 167 | Grounded: Monopile | 15.6 | 38 | 56 |  | 51.683 | 3.0662
ObjectID 2 | tot 2023 | Routekaart 2023 | NL0J | Netherlands | Borssele 3 | Blauwwind | Fully Commissioned | 2016 Tender | 2019 | High | 366 | 9.5 | 39 | 190 | 108 | 164 | Grounded: Monopile | 14.3 | 38 | 61 |  | 51.6998 | 2.9282
ObjectID 3 | tot 2023 | Routekaart 2023 | NL0J | Netherlands | Borssele 4 - Blauwwind | Blauwwind | Fully Commissioned | 2016 Tender | 2019 | High | 366 | 9.5 | 39 | 190 | 108 | 164 | Grounded: Monopile | 14.3 | 38 | 61 |  | 51.6998 | 2.9282
ObjectID 4 | tot 2023 | Routekaart 2023 | NL88 | Netherlands | Borssele Site V -Two towers | Two Towers | Fully Commissioned | 2016 Tender - Demonstrator | 2020 | High | 19 | 9.5 | 2 | 190 | 108 | 164 | Grounded: Monopile | 22 | 24 | 0.59 |  | 51.7092 | 3.0033
ObjectID 5 | tot 2023 | 1e generatie | NL02 | Netherlands | Egmond aan Zee | OWEZ, Offshore Windpark Egmond aan Zee(demonstratieproject) | Fully Commissioned | Round 1 (NL) | 2006 | High | 108 | 3 | 36 | 115 | 70 | 90 | Grounded: Monopile | 15 | 18 | 24.46 |  | 52.6062 | 4.4193
ObjectID 7 | tot 2023 | 2e generatie | NL32 | Netherlands | Eneco Luchterduinen | Luchterduinen | Fully Commissioned | Round 2 (NL) | 2014 | High | 129 | 3 | 43 | 137 | 81 | 112 | Grounded: Monopile | 18 | 22 | 16.17 |  | 52.4051 | 4.1629
ObjectID 8 | tot 2023 | 2e generatie | NL18 | Netherlands | Gemini Zee energie | Buitengaats & ZeeEnergie, BARD-Nederland Offshore, GWS Offshore NL1, 64 (ID assigned by authority), | Fully Commissioned | Round 2 (NL) | 2015 | High | 300 | 4 | 75 | 154 | 89 | 130 | Grounded: Monopile | 32 | 34 | 35 |  | 54.0365 | 5.9649
ObjectID 9 | tot 2023 | 2e generatie | NL18 | Netherlands | Gemini Buitengaats | Buitengaats & ZeeEnergie, BARD-Nederland Offshore, GWS Offshore NL1, 64 (ID assigned by authority), | Fully Commissioned | Round 2 (NL) | 2015 | High | 300 | 4 | 75 | 154 | 89 | 130 | Grounded: Monopile | 32 | 34 | 35 |  | 54.0365 | 5.9649
ObjectID 15 | tot 2023 | Routekaart 2023 | NL0F | Netherlands | Hollandse Kust Noord (Tender 2019) | HKN, CrossWind | Pre-Construction | 2019 Tender | 2022 | High | 700 | 11 | 69 | 225 | 121 | 200 | Grounded: Monopile | 19 | 24 | 93.72 |  | 52.7141 | 4.2646
ObjectID 7 | tot 2030 | Routekaart 2030 | NL0O/object ID 7 | Netherlands | Hollandse Kust West - (Tender 2020/2021) | HKW, Hollandse Kust West VI, Hollandse Kust West VII | Development Zone | 2030 Roadmap | 2024 | Medium | 1400 | 12 | 117 | 245 | 135 | 220 | Grounded: Not Specified | 19.1 | 31 |  | 140 | 52.6293 | 3.7162
ObjectID 13 | tot 2023 | Routekaart 2023 | NL0D | Netherlands | Hollandse Kust Zuid Holland I | Vattenfall | Pre-Construction | 2017 Tender | 2021 | High | 385 | 11 | 35 | 251 | 121 | 193 | Grounded: Monopile | 17.9 | 22 | 52 |  | 52.3341 | 4.0108
ObjectID 12 | tot 2023 | Routekaart 2023 | NL0D | Netherlands | Hollandse Kust Zuid Holland II | Vattenfall | Pre-Construction | 2017 Tender | 2021 | High | 385 | 11 | 35 | 251 | 121 | 193 | Grounded: Monopile | 17.9 | 22 | 52 |  | 52.3341 | 4.0108
ObjectID 11 | tot 2023 | Routekaart 2023 | NL0E | Netherlands | Hollandse Kust Zuid Holland III | Vattenfall |  | 2018 Tender | 2022 | High | 385 | 11 | 35 | 251 | 121 | 193 | Grounded: Monopile | 17 | 22 | 54 |  | 52.2796 | 4.0839
ObjectID 10 | tot 2023 | Routekaart 2023 | NL0E | Netherlands | Hollandse Kust Zuid Holland IV | Vattenfall | Pre-Construction | 2018 Tender | 2022 | High | 385 | 11 | 34 | 251 | 121 | 193 | Grounded: Monopile | 17 | 22 | 54 |  | 52.2796 | 4.0839
ObjectID 6 | tot 2030 | Routekaart 2030 | NL0Q/objectid 6 | Netherlands | IJmuiden Ver |  | Development Zone | 2030 Roadmap | 2027 | Medium | 4000 | 15 | 267 | 261 | 143 | 236 | Grounded: Not Specified | 23 | 41 |  | 400 | 52.8656 | 3.5342
ObjectID 6 | tot 2023 | 1e generatie | NL01 | Netherlands | Prinses Amaliawindpark | Q7, Prinses Amalia Wind Park | Fully Commissioned | Round 1 (NL) | 2006 | High | 120 | 2 | 60 | 99 | 59 | 80 | Grounded: Monopile | 19 | 24 | 21.62 |  | 52.5879 | 4.2238
ObjectID 4 | tot 2030 | Routekaart 2030 | NL0P/objectID 4 | Netherlands | Ten noorden van de Waddeneilanden - (Tender 2022) | Object ID 4 | Development Zone | 2030 Roadmap | 2026 | Medium | 700 | 15 | 47 |  |  |  | Grounded: Not Specified | 34 | 37 | 63.36 | 70 | 54.0226 | 5.6516
| PN | Zoekgebied | 205 |  | Zoekgebied 6 reserve |  |  |  | 2035 | Low
207/objectID 8 | PN | reserveringsgebied PN | 207/objectID 8 |  | Hollandse Kust West zuidelijke punt |  |  |  | 2028 | Medium | 700 | 15 | 47 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 70 | 52.5522 | 3.6218
258 |  | Zoekgebied |  |  | Zoekgebied 1 Noord |  |  |  | 2030 | Medium | 4000 | 20 | 200 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 400 | 53.431 | 3.2233
272 | PN | Zoekgebied | 208 |  | Zoekgebied 1 Zuid |  |  |  | 2030 | Medium | 2000 | 20 | 100 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 200 | 53.1474 | 3.1475
278 | PN | Zoekgebied | 209 |  | Zoekgebied 2 Zuid |  |  |  | 2029 | Medium | 4000 | 15 | 267 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 400 | 52.9858 | 3.7936
274 | PN | Zoekgebied | 204 |  | Zoekgebied 2 Noord |  |  |  | 2030 | Medium | 4000 | 20 | 200 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 400 | 53.2176 | 3.9425
261 | PN | Zoekgebied | 210 |  | Zoekgebied 8 |  |  |  | 2036 | Low | 2000 | 20 | 100 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 200 | 53.3739 | 4.0859
279 | PN | Zoekgebied | 211 |  | zoekgebied 4 |  |  |  | 2034 | Medium | 4000 | 20 | 200 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 400 | 53.8823 | 5.8689
259 | PN | Zoekgebied | 212 |  | zoekgebied 3 |  |  |  | 2034 | Low | 2000 | 20 | 100 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 200 | 53.7831 | 3.473
262 | PN | Zoekgebied | 213 |  | Zoekgebied 5 middenberm |  |  |  | 2030 | Medium | 2000 | 20 | 100 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 200 | 54.3947 | 5.0373
263 |  | Zoekgebied |  |  | Zoekgebied 5 Oost klein |  |  |  | 2029 | Medium | 2000 | 15 | 134 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 200 | 54.254 | 5.6158
263 | PN | Zoekgebied | 214 |  | Zoekgebied 5 Oost origineel |  |  |  | 2029 | Medium | 4000 | 15 | 267 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 400 | 54.1496 | 5.6547
264 | PN | Zoekgebied | 215 |  | Zoekgebied 7 |  |  |  | 2038 | Low | 8000 | 20 | 400 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 800 | 54.3616 | 3.516
265 | PN | Zoekgebied | 216 |  | Zoekgebied 6 |  |  |  | 2039 | Low | 10000 | 20 | 500 | 305 | 165 | 280 | Grounded: Monopile |  |  |  | 1000 | 54.5704 | 4.6037
| PN | Zoekgebied | 217 |  | Zoekgebied 1 reserve |  |  |  | 2035 | Low
| PN | Zoekgebied | 218 |  | Zoekgebied 5 middenberm reserve |  |  |  | 2031 | Low
268 | PN | reserveringsgebied PN | 219 |  | Hollandse Kust West Noord |  |  |  | 2028 | Medium | 1400 | 15 | 94 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 140 | 52.8988 | 4.1257
269 | PN | reserveringsgebied PN | 220 |  | Hollandse Kust West Zuid |  |  |  | 2028 | Medium | 1400 | 15 | 94 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 140 | 52.274 | 3.6329
270 | PN | reserveringsgebied PN | 221 |  | Ijmuiden Ver Noord |  |  |  | 2028 | Medium | 2000 | 15 | 134 | 261 | 143 | 236 | Grounded: Monopile |  |  |  | 200 | 52.9858 | 3.6619
Note on H2: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on K2: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on S2: 4C: Min depth from nautical charts within perimeter of park
Note on T2: 4C: Max depth from nautical charts within perimeter of park

## UK
Let op: blauw is floating
Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
UK47 | United Kingdom | Aberdeen Offshore Wind Farm (EOWDC) | Aberdeen Bay, European Offshore Wind Deployment Centre - EOWDC | Fully Commissioned |  | 2018 | High | 93.2 | 8.8 | 11 | 191 | 109 | 164 | Grounded: Jacket (Suction Bucket) | 20 | 30 | 19.97 |  | 57.2257 | -1.9965
UK53 | United Kingdom | Beatrice | BOWL | Fully Commissioned | Scottish Territorial Waters 1 | 2017 | High | 588 | 7 | 84 | 198.4 | 110 | 154 | Grounded: Jacket (Piled) | 35 | 50 | 131.33 |  | 58.254 | -2.8845
UK74 | United Kingdom | Berwick Bank | Zone 2, Firth of Forth Phase 2 Charlie-Delta-Echo, Seagreen Phase 2 | Concept/Early Planning | Round 3 | 2028 | Medium | 2300 | 20 | 115 | 305 | 165 | 280 | Grounded: Not Specified | 39 | 64 | 654.64 |  | 56.2919 | -1.4671
UK70 | United Kingdom | Blyth Offshore Demonstrator Phase 1 | Blyth Offshore Demonstrator Project - Array 2, NaREC Offshore Wind Demonstration Project, BOD | Fully Commissioned | Demonstration | 2017 | High | 41.5 | 8.3 | 5 | 191.5 | 109.5 | 164 | Grounded: Gravity-Base | 29 | 39 |  |  | 55.131 | -1.4011
UK79 | United Kingdom | Blyth Offshore Demonstrator Phase 2 | Blyth Offshore Demonstrator Project - Array 3A & 4 NaREC Offshore Wind Demonstration Project | Consent Authorised | Demonstration | 2024 | Medium | 58.4 | 14 | 5 | 258 | 140 | 236 | Floating: Semi-Submersible Platform | 43 | 54 |  |  | 55.1851 | -1.353
UK80 | United Kingdom | Dogger Bank A | Creyke Beck A, Zone 3, Project One | Pre-Construction | Round 3 | 2022 | High | 1200 | 13 | 95 | 260 | 150 | 220 | Grounded: Monopile | 18.3 | 25 | 515.21 |  | 54.7695 | 1.909
UK0V | United Kingdom | Dogger Bank B | Creyke Beck B, Zone 3 | Pre-Construction | Round 3 | 2023 | High | 1200 | 13 | 95 | 260 | 150 | 220 | Grounded: Monopile | 20 | 33 | 598.91 |  | 54.9774 | 1.6797
UK1F | United Kingdom | Dogger Bank C | Teesside A, Zone 3, Lackenby A (Tranche B) | Consent Authorised | Round 3 | 2024 | High | 1200 | 14 | 95 | 248 | 138 | 220 | Grounded: Monopile | 21 | 30 | 560.11 |  | 55.0397 | 2.8227
UK04 | United Kingdom | Dudgeon |  | Fully Commissioned | Round 2 | 2016 | High | 402 | 6 | 67 | 187 | 110 | 154 | Grounded: Monopile | 11.5 | 23.5 | 55.13 |  | 53.2654 | 1.3807
UK4G | United Kingdom | Dudgeon Extension |  | Concept/Early Planning | 2017 Extension Opportunity | 2028 | Medium | 402 | 20 | 115 | 305 | 165 | 280 | Grounded: Not Specified | 10.6 | 31 | 104.63 | 40.2 | 53.2788 | 1.3738
UK2Q | United Kingdom | East Anglia Hub - ONE North | EA1N, East Anglia Hub | Consent Application Submitted | Round 3 | 2024 | Medium | 800 | 14 | 58 | 300 | 140 | 222 | Grounded: Monopile | 32 | 59 | 207.9553 | 80 | 52.3811 | 2.4311
UK66 | United Kingdom | East Anglia Hub - THREE | East Anglia Array, Zone 5, Norfolk, EA3, East Anglia Hub, | Consent Authorised | Round 3 | 2023 | Medium | 1400 | 14 | 100 | 251 | 140 | 222 | Grounded: Monopile | 24.5 | 48 | 305.23 | 140 | 52.6652 | 2.8557
UK39 | United Kingdom | East Anglia Hub - TWO | East Anglia Array, Zone 5, Norfolk, EA2, East Anglia Hub | Consent Application Submitted | Round 3 | 2025 | Medium | 900 | 14 | 65 | 251 | 140 | 222 | Grounded: Monopile | 30 | 73 | 218.4089 | 90 | 52.1327 | 2.2067
UK64 | United Kingdom | East Anglia ONE | East Anglia Array, Zone 5, Norfolk, EA ONE | Fully Commissioned | Round 3 | 2018 | High | 714 | 7 | 102 | 167 | 90 | 154 | Grounded: Jacket (Piled) | 29.5 | 41 | 162.82 |  | 52.2327 | 2.4985
UK4I | United Kingdom | Five Estuaries | Galloper Extension | Concept/Early Planning | 2017 Extension Opportunity | 2030 | Medium | 353 | 20 | 18 | 305 | 165 | 280 | Grounded: Not Specified | 31 | 57 | 163.6 | 35.3 | 51.9014 | 2.1654
UK2Y | United Kingdom | ForthWind Offshore Wind Demonstration Project Phase 2 | 2B Energy Powerblock | Concept/Early Planning |  |  |  | 53 | 12 | 7 | 225 | 125 | 200 | Various | 10 | 24 | 8.72 |  | 56.1376 | -3.0242
UK62 | United Kingdom | Galloper |  | Fully Commissioned | Round 2.5 | 2016 | High | 353 | 6 | 56 | 180.5 | 103.5 | 154 | Grounded: Monopile | 4 | 50 | 113.58 |  | 51.8931 | 2.0345
UK05 | United Kingdom | Greater Gabbard | GGOWL | Fully Commissioned | Round 2 | 2009 | High | 504 | 3.6 | 140 | 131 | 77.5 | 107 | Grounded: Monopile | 3.7 | 37 | 146.13 |  | 51.884 | 1.9358
UK07 | United Kingdom | Gunfleet Sands | GFS | Fully Commissioned | Round 1 | 2008 | High | 172.8 | 3.6 | 48 | 128.5 | 75 | 107 | Grounded: Monopile | 0 | 12.9 | 15.8 |  | 51.7302 | 1.2292
UK1J | United Kingdom | Hornsea Project Four | Zone 4, Hornsea Three SPC 6 | Concept/Early Planning | Round 3 | 2031 | Medium | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 24.5 | 55 | 846.03 | 100 | 54.0386 | 1.2711
UK81 | United Kingdom | Hornsea Project One | Zone 4, Subzone 1, Heron Wind & Njord | Fully Commissioned | Round 3 | 2018 | High | 1218 | 7 | 174 | 200 | 113 | 154 | Grounded: Monopile | 23.5 | 37 | 407.34 |  | 53.8833 | 1.9219
UK1K | United Kingdom | Hornsea Project Three | Zone 4, Hornsea Three SPC 8 | Consent Authorised | Round 3 | 2026 | Medium | 2400 | 11 | 231 | 205 | 123 | 164 | Grounded: Not Specified | 26 | 73 | 695.83 | 240 | 53.873 | 2.5372
UK1U | United Kingdom | Hornsea Project Two | Zone 4, Hornsea Project 2 (Optimus and Breesea) | Under Construction | Round 3 | 2020 | High | 1386 | 8.4 | 165 | 204.4 | 120.9 | 167 | Grounded: Monopile | 25 | 67 | 461.89 |  | 53.9402 | 1.6877
UK10 | United Kingdom | Humber Gateway |  | Fully Commissioned | Round 2 | 2013 | High | 219 | 3 | 73 | 136 | 80 | 112 | Grounded: Monopile | 10.6 | 16.2 | 26.53 |  | 53.6443 | 0.29312
UK76 | United Kingdom | Hywind Scotland Pilot Park | Hywind II, Hywind 2, Buchan Deep | Fully Commissioned | Scottish Floating Demonstration | 2017 | High | 30 | 6 | 5 | 178 | 101 | 154 | Floating: Spar Floater - Steel | 96 | 110 | 15.14 |  | 57.4843 | -1.3626
UK54 | United Kingdom | Inch Cape | ICOL | Consent Authorised | Scottish Territorial Waters 1 | 2026 | Medium | 1000 | 15 | 72 | 291 |  | 250 | Grounded: Monopile | 36 | 54 | 149.92 | 100 | 56.4946 | -2.1956
UK11 | United Kingdom | Inner Dowsing |  | Fully Commissioned | Round 1 | 2007 | High | 97.2 | 3.6 | 27 | 133.5 | 80 | 107 | Grounded: Monopile | 6.4 | 7.9 | 8.81 |  | 53.1891 | 0.44525
UK12 | United Kingdom | Kentish Flats |  | Fully Commissioned | Round 1 | 2004 | High | 90 | 3 | 30 | 115 | 70 | 90 | Grounded: Monopile | 3 | 4.5 | 9.95 |  | 51.4604 | 1.0939
UK60 | United Kingdom | Kentish Flats Extension | Kentish Flats 2 | Fully Commissioned | Round 2.5 | 2015 | High | 49.5 | 3.3 | 15 | 139.6 | 83.6 | 112 | Grounded: Monopile | 1 | 4 | 8.28 |  | 51.4507 | 1.08
UK4N | United Kingdom | Kincardine - Phase 2 | KOWL | Under Construction | Scottish Floating Demonstration | 2020 | High | 48 | 9.6 | 5 | 180 | 104 | 164 | Floating: Semi-Submersible Platform - Steel | 61 | 100 | 24.1841 |  | 57.0067 | -1.8539
UK13 | United Kingdom | Lincs |  | Fully Commissioned | Round 2 | 2011 | High | 270 | 3.6 | 75 | 145.25 | 85.25 | 120 | Grounded: Monopile | 7.6 | 16.4 | 38.31 |  | 53.1905 | 0.4916
UK14 | United Kingdom | London Array |  | Fully Commissioned | Round 2 | 2011 | High | 630 | 3.6 | 175 | 147 | 87 | 120 | Grounded: Monopile | 0 | 23 | 106.9 |  | 51.6268 | 1.4952
UK15 | United Kingdom | Lynn |  | Fully Commissioned | Round 1 | 2007 | High | 97.2 | 3.6 | 27 | 133.5 | 80 | 107 | Grounded: Monopile | 7 | 11 | 7.88 |  | 53.1367 | 0.45216
UK75 | United Kingdom | Marr Bank | Zone 2, Firth of Forth Phase 3 Foxtrot-Golf, Seagreen Phase 3 | Concept/Early Planning | Round 3 | 2031 | Medium | 1850 | 20 | 93 | 305 | 165 | 280 | Grounded: Not Specified | 32 | 64 | 785.93 |  | 56.3449 | -1.7928
UK40 | United Kingdom | Moray East | Zone 1, Moray Central A, Moray Firth Eastern Development Area, Stevenson, Telford and MacColl. | Under Construction | Round 3 | 2019 | High | 950 | 9.5 | 100 | 280 | 105 | 164 | Grounded: Jacket (Piled) | 39 | 50 | 295.62 |  | 58.1883 | -2.7204
UK77 | United Kingdom | Moray West | Zone 1, Moray Firth Western Development Area | Consent Authorised | Round 3 | 2024 | Medium | 950 | 15 | 85 | 265 |  | 230 | Grounded: Not Specified | 35 | 52 | 226.05 | 95 | 58.0972 | -3.0071
UK56 | United Kingdom | Neart na Gaoithe | NnG | Under Construction | Scottish Territorial Waters 1 | 2020 | High | 448 | 8 | 54 | 208 | 125 | 167 | Grounded: Jacket (Piled) | 44 | 56 | 105.11 |  | 56.2677 | -2.2501
UK69 | United Kingdom | Norfolk Boreas | East Anglia Six | Consent Application Submitted | Round 3 | 2027 | Medium | 1800 | 20 | 158 | 350 |  | 303 | Grounded: Not Specified | 22.5 | 41 | 725.25 | 180 | 53.0385 | 2.9416
UK67 | United Kingdom | Norfolk Vanguard | East Anglia Array | Consent Application Submitted | Round 3 | 2025 | Medium | 1800 | 20 | 158 | 305 | 198.5 | 303 | Grounded: Not Specified | 21.5 | 40 | 592.07 | 180 | 52.8702 | 2.6999
UK4J | United Kingdom | North Falls | Greater Gabbard Extension | Concept/Early Planning | 2017 Extension Opportunity | 2029 | Medium | 504 | 15 | 34 | 261 | 143 | 236 | Grounded: Not Specified | 9.5 | 59 | 161.75 | 50.4 | 51.7537 | 1.8992
UK18 | United Kingdom | Race Bank | ROW01 | Fully Commissioned | Round 2 | 2016 | High | 573.3 | 6.3 | 91 | 187 | 110 | 154 | Grounded: Monopile | 6 | 23 | 62.36 |  | 53.2766 | 0.84138
UK4F | United Kingdom | Race Bank Extension |  | Concept/Early Planning | 2017 Extension Opportunity | 2029 | Medium | 573 | 15 | 38 | 261 | 143 | 236 | Grounded: Not Specified | 3.3 | 21.5 | 137.4346 | 57.3 | 53.2935 | 0.91556
UK4X | United Kingdom | Round 4 - Area 1 (RWE Renewables) |  | Concept/Early Planning | Leasing Round 4 | 2035 | Medium | 1500 | 20 | 75 | 305 | 165 | 280 | Grounded: Not Specified | 14 | 36 | 490.5998 | 150 | 54.625 | 1.4787
UK4Y | United Kingdom | Round 4 - Area 2 (RWE Renewables) |  | Concept/Early Planning | Leasing Round 4 | 2035 |  | 1500 | 20 | 75 | 305 | 165 | 280 | Grounded: Not Specified | 14 | 33 | 493.8906 | 150 | 54.5008 | 1.9038
UK4Z | United Kingdom | Round 4 - Area 3 (GIG & Total) |  | Concept/Early Planning | Leasing Round 4 | 2034 | Medium | 1500 | 20 | 75 | 305 | 165 | 280 | Grounded: Not Specified | 7 | 37 | 499.6203 | 150 | 53.5684 | 1.2848
UK3I | United Kingdom | Scottish Sectoral Marine Plan - E1 |  | Development Zone | ScotWind | 2035 |  | 3000 | 20 | 150 | 305 | 165 | 280 | Floating: Not Specified | 62 | 148 | 3743.22 | 300 | 56.7144 | -0.42248
UK3G | United Kingdom | Scottish Sectoral Marine Plan - E2 |  | Development Zone | ScotWind | 2035 |  | 2000 | 20 | 100 | 305 | 165 | 280 | Floating: Not Specified | 63 | 93 | 1291.36 | 200 | 57.3431 | -0.08354
UK3F | United Kingdom | Scottish Sectoral Marine Plan - E3 |  | Development Zone | ScotWind | 2030 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Floating: Not Specified | 54 | 125 | 474.06 | 100 | 56.9978 | -1.4864
UK3S | United Kingdom | Scottish Sectoral Marine Plan - NE1 |  | Development Zone | ScotWind | 2035 |  | 2000 | 20 | 100 | 305 | 165 | 280 | Floating: Not Specified | 100 | 132 | 750.96 | 200 | 60.293 | -0.19374
UK3K | United Kingdom | Scottish Sectoral Marine Plan - NE2 |  | Development Zone | ScotWind | 2036 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Floating: Not Specified | 59 | 85 | 344.94 | 100 | 58.8586 | -2.2643
UK3P | United Kingdom | Scottish Sectoral Marine Plan - NE3 |  | Development Zone | ScotWind | 2036 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Floating: Not Specified | 69 | 90 | 264.31 | 100 | 58.5127 | -2.1428
UK3Q | United Kingdom | Scottish Sectoral Marine Plan - NE4 |  | Development Zone | ScotWind | 2037 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Grounded: Not Specified | 43 | 82 | 439.99 | 100 | 58.2006 | -2.4927
UK3L | United Kingdom | Scottish Sectoral Marine Plan - NE6 |  | Development Zone | ScotWind | 2034 | Low | 2000 | 20 | 100 | 305 | 165 | 280 | Floating: Not Specified | 58 | 125 | 698.18 | 200 | 58.0581 | -1.6568
UK3N | United Kingdom | Scottish Sectoral Marine Plan - NE7 |  | Development Zone | ScotWind | 2032 | Low | 3000 | 20 | 150 | 305 | 165 | 280 | Floating: Not Specified | 91 | 119 | 683.77 | 300 | 58.1621 | -0.62257
UK3O | United Kingdom | Scottish Sectoral Marine Plan - NE8 |  | Development Zone | ScotWind | 2037 |  | 1000 | 20 | 50 | 305 | 165 | 280 | Floating: Not Specified | 74 | 102 | 338.32 | 100 | 58.4111 | -1.2334
UK23 | United Kingdom | Scroby Sands |  | Fully Commissioned | Round 1 | 2003 | High | 60 | 2 | 30 | 100 | 60 | 80 | Grounded: Monopile | 0 | 10.1 | 4.22 |  | 52.6457 | 1.7878
UK44 | United Kingdom | Seagreen | Zone 2, Firth of Forth Alpha-Bravo; Seagreen Alpha; Seagreen Bravo, Seagreen Phase 1 | Pre-Construction | Round 3 | 2021 | High | 1140 | 10 | 114 | 205 | 123 | 164 | Grounded: Jacket (Suction Bucket) | 39 | 61 | 336.473 |  | 56.5969 | -1.7196
UK4P | United Kingdom | Seagreen 1A | Seagreen 1A, SG1A, Seagreen Extension | Consent Authorised | Round 3 | 2024 | Medium | 360 | 10 | 36 | 205 | 123 | 164 | Grounded: Jacket (Piled) | 44 | 54 | 54.4679 | 36 | 56.5619 | -1.8622
UK27 | United Kingdom | Sheringham Shoal |  | Fully Commissioned | Round 2 | 2009 | High | 316.8 | 3.6 | 88 | 135.25 | 81.75 | 107 | Grounded: Monopile | 14 | 23 | 34.97 |  | 53.1356 | 1.1475
UK4H | United Kingdom | Sheringham Shoal Extension |  | Concept/Early Planning | 2017 Extension Opportunity | 2028 | Medium | 317 | 20 | 16 | 305 | 165 | 280 | Grounded: Not Specified | 13.6 | 21 | 93.35 | 31.7 | 53.167 | 1.1631
UK1G | United Kingdom | Sofia | Zone 3, Lackenby B (Tranche B) Dogger Bank - Teesside B | Consent Authorised | Round 3 | 2024 | High | 1400 | 14 | 100 | 252 | 141 | 222 | Grounded: Monopile | 21 | 33 | 593.21 | 140 | 54.9899 | 2.2286
UK28 | United Kingdom | Teesside | Redcar | Fully Commissioned | Round 1 | 2012 | High | 62.1 | 2.3 | 27 | 126.5 | 80 | 93 | Grounded: Monopile | 6 | 18 | 4.32 |  | 54.6453 | -1.0941
UK29 | United Kingdom | Thanet |  | Fully Commissioned | Round 2 | 2009 | High | 300 | 3 | 100 | 115 | 70 | 90 | Grounded: Monopile | 14.4 | 23 | 34.94 |  | 51.4304 | 1.6337
UK30 | United Kingdom | Triton Knoll |  | Partial Generation/Under Construction | Round 2 | 2020 | High | 857 | 9.5 | 90 | 189 | 107 | 164 | Grounded: Monopile | 12.3 | 30 | 149.45 |  | 53.4785 | 0.83858
UK34 | United Kingdom | Westermost Rough |  | Fully Commissioned | Round 2 | 2014 | High | 210 | 6 | 35 | 177 | 102 | 154 | Grounded: Monopile | 12 | 22 | 34.93 |  | 53.8059 | 0.14982
Note on E2: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on H2: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on P2: 4C: Min depth from nautical charts within perimeter of park
Note on Q2: 4C: Max depth from nautical charts within perimeter of park

## Frankrijk
Wind Farm Id | Country Name | Wind Farm | Other Names | Windfarm Status | Round/Category | Verwachte start | Analyst Certainty | Capacity MW (Max) | Turbine MW (Max) | Num Turbines (Max) | Total Turbine Height (M) | Hub Height (m) | Rotor Diam (m) | Foundation | Water Depth Min (m) | Water Depth Max (m) | Area (SqKm) | ingeschatte area op basis van 10mw/km2 | Lat | Lon
FR79 | France | France - 2026 Tender(s) (Fixed/Floating) |  | Development Zone | Fixed/Floating Tender(s) (2026 Award) | 2031 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Various |  |  |  | 100 | 51.0324 | 1.9383
FR80 | France | France - 2027 Tender(s) (Fixed/Floating) |  | Development Zone | Fixed/Floating Tender(s) (2027 Award) | 2032 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Various |  |  |  | 100 | 51.0171 | 1.9389
FR88 | France | France - 2028 Tender(s) (Fixed/Floating) |  | Development Zone | Fixed/Floating Tender(s) (2028 Award) | 2033 | Low | 1000 | 20 | 50 | 305 | 165 | 280 | Various |  |  |  | 100 | 50.9996 | 1.9387
FR68 | France | L’éolien en mer région Dunkerque (troisième appel d’offres) | Dunkirk | Concept/Early Planning | Round 3 (2017) | 2026 | Medium | 598 | 16 | 46 | 261 | 143 | 236 | Grounded: Monopile | 0 | 23 | 122.47 | 60 | 51.1528 | 2.3785
Note on E1: WindfarmStatus: Development Zone - This refers to an area or zone that the government has identified as being suitable for development for offshore wind. Normally developers are then invited to submit project proposals falling within the area. Concept/Early Planning – The early stages of a wind farm. At this pre-application stage tasks are undertaken to establish the feasibility and design of the project. Consent Application Submitted – The formal application has been officially submitted and is awaiting a decision from the authorities. Consent Authorised – Approval has been granted by the authorities and construction can begin assuming the developer wishes to invest. Pre Construction - The project has reached financial close/made a final investment decision and is moving towards offshore construction Under Construction – The offshore construction is in progress. No turbines are yet energised. Partial Generation/Under Construction - At least one turbine has been energised and is feeding power to the grid. Part of the project is still under construction. Fully Commissioned – All turbines energised and feeding power to the grid. Dormant - The planning process for a country is moving forward but the wind farm is not explicitly include in plans. However the windfarm has not formally been declined by the authorities or cancelled by the developer. Failed Proposal – The application has been declined by the authorities. Cancelled – The developer/owner has decided that the project is not viable. Decommissioned – The project has come to the end of its lifecycle. The turbines and foundations are removed.
Note on H1: See analyst's certainty allocation framework for guidance Only applies to future projects.
Note on P1: 4C: Min depth from nautical charts within perimeter of park
Note on Q1: 4C: Max depth from nautical charts within perimeter of park